## Sheet1
| filename_x | Splitting | Diad1_Cent | Diad1_Area | Residual_Diad1 | Diad2_Cent | Diad2_Area | Residual_Diad2 | HB1_Cent | HB1_Area | HB2_Cent | HB2_Area | C13_Cent | C13_Area | name_for_matching | filename_y | date | power (mW) | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Spectral Center | index | Ne_Correction | Corrected_Splitting | T_K | Density | in range | Notes | LowD_RT | HighD_RT | LowD_SC | MedD_SC | HighD_SC | Temperature | Splitting
0 | LL4-FI1-#1 | 103.2561 | 1285.3189 | 361.5643 | 3.0191 | 1388.575 | 576.4628 | 3.362 |  | 0 |  | 0 |  | 0 | LL4-FI1-#1 | LL4-FI1-#1.txt | October 7, 2022 | 6.027 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:33:50 PM | 52430 | 1324.987 | 0 | 0.99829 | 103.0799 | 1423.15 | 0.1315 | Y | SupCrit, low density | 0.12533 | -0.18007 | 0.1315 | 0.13198 | -0.15179 | SupCrit | 103.0699
1 | LL4-FI1-#2 (1) | 103.2468 | 1285.3535 | 901.3141 | 3.2384 | 1388.6004 | 1383.7415 | 4.109 |  | 0 |  | 0 |  | 0 | LL4-FI1-#2 (1) | LL4-FI1-#2 (1).txt | October 7, 2022 | 6.033 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:24:04 PM | 51844 | 1324.987 | 1 | 0.99829 | 103.0708 | 1423.15 | 0.12807 | Y | SupCrit, low density | 0.12192 | -0.188 | 0.12807 | 0.12847 | -0.15972 | SupCrit | 103.0608
2 | LL4-FI1-#2 | 103.2515 | 1285.3668 | 1854.8247 | 5.9226 | 1388.6182 | 2815.8836 | 7.8221 |  | 0 |  | 0 |  | 0 | LL4-FI1-#2 | LL4-FI1-#2.txt | October 7, 2022 | 12.035 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:15:04 PM | 51304 | 1324.987 | 2 | 0.9983 | 103.0755 | 1423.15 | 0.12987 | Y | SupCrit, low density | 0.12371 | -0.18384 | 0.12987 | 0.13031 | -0.15556 | SupCrit | 103.0655
3 | LL7-107-FI#2_12mW1acc | 103.6092 | 1284.4655 | 5935.1663 | 17.6388 | 1388.0747 | 9232.4521 | 22.9361 |  | 0 |  | 0 |  | 0 | LL7-107-FI#2_12mW1acc | LL7-107-FI#2_12mW1acc.txt | October 7, 2022 | 11.939 | 45 | 1 | 50 | ['0h', '1m', '23s'] | 4:04:48 PM | 57888 | 1324.987 | 4 | 0.99828 | 103.4307 | 1423.15 | 0.27553 | Y | SupCrit, Med density | 0.25628 | 0.10656 | 0.26342 | 0.27553 | 0.13394 | SupCrit | 103.4207
4 | LL7-107-FI#2_6mW | 103.6068 | 1284.4487 | 3040.3933 | 8.7696 | 1388.0555 | 4764.1593 | 12.5727 |  | 0 |  | 0 |  | 0 | LL7-107-FI#2_6mW | LL7-107-FI#2_6mW.txt | October 7, 2022 | 6.029 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:06:15 PM | 57975 | 1324.987 | 5 | 0.99828 | 103.4283 | 1423.15 | 0.2745 | Y | SupCrit, Med density | 0.25539 | 0.10473 | 0.26253 | 0.2745 | 0.13212 | SupCrit | 103.4183
5 | LL7-109-FI | 103.4638 | 1284.8203 | 332.5699 | 4.7114 | 1388.2841 | 498.7568 | 5.0004 |  | 0 |  | 0 |  | 0 | LL7-109-FI | LL7-109-FI.txt | October 7, 2022 | 5.999 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:22:46 PM | 58966 | 1324.987 | 6 | 0.99827 | 103.2853 | 1423.15 | 0.2141 | Y | SupCrit, Med density | 0.20199 | -0.0078983 | 0.20873 | 0.2141 | 0.020017 | SupCrit | 103.2753
6 | LL7-FI33 | 103.2301 | 1285.4097 | 1618.0534 | 7.9321 | 1388.6398 | 2437.1608 | 8.3251 |  | 0 |  | 0 |  | 0 | LL7-FI33 | LL7-FI33.txt | October 7, 2022 | 6.042 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:51:48 PM | 60708 | 1324.987 | 7 | 0.99827 | 103.0515 | 1423.15 | 0.12083 | Y | SupCrit, low density | 0.11474 | -0.20482 | 0.12083 | 0.12111 | -0.17652 | SupCrit | 103.0415
7 | LL7-FI34 | 103.2622 | 1285.322 | 1516.9585 | 12.1737 | 1388.5843 | 2279.3508 | 14.3523 |  | 0 |  | 0 |  | 0 | LL7-FI34 | LL7-FI34.txt | October 7, 2022 | 6.021 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:38:57 PM | 59937 | 1324.987 | 8 | 0.99827 | 103.0838 | 1423.15 | 0.13296 | Y | SupCrit, low density | 0.12678 | -0.17669 | 0.13296 | 0.13349 | -0.14841 | SupCrit | 103.0738
8 | LL8-433-FI_12mW | 103.1635 | 1285.626 | 1386.4462 | 15.7965 | 1388.7895 | 1914.9386 | 22.8358 |  | 0 |  | 0 |  | 0 | LL8-433-FI_12mW | LL8-433-FI_12mW.txt | October 7, 2022 | 11.991 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:29:22 PM | 55762 | 1324.987 | 10 | 0.99828 | 102.9864 | 1423.15 | 0.096346 | Y | SupCrit, low density | 0.090437 | -0.26251 | 0.096346 | 0.096634 | -0.23421 | SupCrit | 102.9764
9 | LL8-433-FI_6mW | 103.1536 | 1285.6198 | 851.0173 | 9.8788 | 1388.7734 | 1163.9068 | 9.8212 |  | 0 |  | 0 |  | 0 | LL8-433-FI_6mW | LL8-433-FI_6mW.txt | October 7, 2022 | 6.03 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:38:52 PM | 56332 | 1324.987 | 11 | 0.99828 | 102.9764 | 1423.15 | 0.092595 | Y | SupCrit, low density | 0.086713 | -0.27146 | 0.092595 | 0.092943 | -0.24316 | SupCrit | 102.9664
10 | LL7-19-1 | 103.1772 | 1285.5081 | 481.1123 | 7.9982 | 1388.6853 | 725.1862 | 8.7068 |  | 0 |  | 0 |  | 0 | LL7-19-1 | LL7-19-1.txt | October 10, 2022 | 12.052 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:52:39 PM | 60759 | 1324.987 | 0 | 0.99836 | 103.0081 | 1423.15 | 0.1045 | Y | SupCrit, low density | 0.098528 | -0.24317 | 0.1045 | 0.10471 | -0.21486 | SupCrit | 102.9981
11 | LL7-21 | 103.1694 | 1285.4845 | 965.5004 | 4.4614 | 1388.654 | 1509.697 | 5.5327 |  | 0 |  | 0 |  | 0 | LL7-21 | LL7-21.txt | October 10, 2022 | 6.004 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:44:14 PM | 60254 | 1324.987 | 1 | 0.99837 | 103.001 | 1423.15 | 0.10184 | Y | SupCrit, low density | 0.095891 | -0.24945 | 0.10184 | 0.10207 | -0.22115 | SupCrit | 102.991
12 | LL7-29-1 | 103.1599 | 1285.5321 | 777.8233 | 8.4042 | 1388.692 | 1177.8832 | 9.9851 |  | 0 |  | 0 |  | 0 | LL7-29-1 | LL7-29-1.txt | October 10, 2022 | 6.047 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:56:40 PM | 57400 | 1324.987 | 2 | 0.99839 | 102.9942 | 1423.15 | 0.09926 | Y | SupCrit, low density | 0.093329 | -0.25558 | 0.09926 | 0.099513 | -0.22728 | SupCrit | 102.9842
13 | LL7-FI26-1 | 103.2662 | 1285.1612 | 1529.8057 | 15.8273 | 1388.4275 | 2168.0512 | 19.6769 |  | 0 |  | 0 |  | 0 | LL7-FI26-1 | LL7-FI26-1.txt | October 10, 2022 | 12.059 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:16:48 PM | 51408 | 1324.987 | 3 | 0.99839 | 103.1004 | 1423.15 | 0.1392 | Y | SupCrit, low density | 0.13298 | -0.16234 | 0.1392 | 0.13991 | -0.13407 | SupCrit | 103.0904
14 | LL7-FI27-1 | 102.9827 | 1285.781 | 286.4604 | 5.2619 | 1388.7637 | 425.0541 | 4.9874 |  | 0 |  | 0 |  | 0 | LL7-FI27-1 | LL7-FI27-1.txt | October 10, 2022 | 6.008 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:28:12 PM | 48492 | 1324.987 | 4 | 0.99837 | 102.8145 | 1423.15 | 0.031705 | Y | SupCrit, low density | 0.026275 | -0.42077 | 0.031705 | 0.035345 | -0.39269 | SupCrit | 102.8045
15 | LL7-FI27-2 | 103.0699 | 1285.6691 | 346.1846 | 4.2747 | 1388.739 | 511.7652 | 4.4791 |  | 0 |  | 0 |  | 0 | LL7-FI27-2 | LL7-FI27-2.txt | October 10, 2022 | 6.008 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:36:12 PM | 48972 | 1324.987 | 5 | 0.99837 | 102.9022 | 1423.15 | 0.064678 | Y | SupCrit, low density | 0.059004 | -0.33896 | 0.064678 | 0.065983 | -0.31073 | SupCrit | 102.8922
16 | LL7-FI28-repeat | 103.257 | 1285.1024 | 305.068 | 11.8507 | 1388.3595 | 405.1829 | 12.6394 |  | 0 |  | 0 |  | 0 | LL7-FI28-repeat | LL7-FI28-repeat.txt | October 10, 2022 | 5.966 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:11:36 PM | 47496 | 1324.987 | 6 | 0.99835 | 103.087 | 1423.15 | 0.13419 | Y | SupCrit, low density | 0.128 | -0.17386 | 0.13419 | 0.13474 | -0.14558 | SupCrit | 103.077
17 | LL7-FI28 | 103.2567 | 1285.1117 | 762.4925 | 11.9577 | 1388.3684 | 1117.4434 | 13.3421 |  | 0 |  | 0 |  | 0 | LL7-FI28 | LL7-FI28.txt | October 10, 2022 | 5.972 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:01:08 PM | 46868 | 1324.987 | 7 | 0.99834 | 103.0857 | 1423.15 | 0.13369 | Y | SupCrit, low density | 0.12751 | -0.175 | 0.13369 | 0.13423 | -0.14673 | SupCrit | 103.0757
18 | LL7-FI30-repeat | 103.3819 | 1284.8159 | 1437.0025 | 5.2287 | 1388.1978 | 2169.2076 | 8.4741 |  | 0 |  | 0 |  | 0 | LL7-FI30-repeat | LL7-FI30-repeat.txt | October 10, 2022 | 5.992 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:48:49 PM | 46129 | 1324.987 | 8 | 0.99833 | 103.2094 | 1423.15 | 0.18311 | Y | SupCrit, Med density | 0.17368 | -0.070043 | 0.18021 | 0.18311 | -0.041939 | SupCrit | 103.1994
19 | LL7-FI30 | 103.3831 | 1284.8027 | 1334.5649 | 7.8603 | 1388.1858 | 2050.5054 | 8.6598 |  | 0 |  | 0 |  | 0 | LL7-FI30 | LL7-FI30.txt | October 10, 2022 | 6.012 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:41:03 PM | 45663 | 1324.987 | 9 | 0.99832 | 103.2098 | 1423.15 | 0.18326 | Y | SupCrit, Med density | 0.17382 | -0.069726 | 0.18036 | 0.18326 | -0.041624 | SupCrit | 103.1998
20 | LL7-FI31-2 | 103.1458 | 1285.3476 | 491.1318 | 6.4834 | 1388.4933 | 658.9649 | 6.7286 |  | 0 |  | 0 |  | 0 | LL7-FI31-2 | LL7-FI31-2.txt | October 10, 2022 | 6.039 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:58:28 AM | 43108 | 1324.987 | 11 | 0.99827 | 102.9674 | 1423.15 | 0.089195 | Y | SupCrit, low density | 0.083339 | -0.27959 | 0.089195 | 0.089612 | -0.2513 | SupCrit | 102.9574
21 | LL7-FI31-3 | 103.1173 | 1285.4757 | 189.3963 | 10.5772 | 1388.593 | 274.3741 | 10.107 |  | 0 |  | 0 |  | 0 | LL7-FI31-3 | LL7-FI31-3.txt | October 10, 2022 | 6.09 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:08:28 PM | 43708 | 1324.987 | 12 | 0.99828 | 102.9403 | 1423.15 | 0.079024 | Y | SupCrit, low density | 0.073244 | -0.30407 | 0.079024 | 0.079724 | -0.2758 | SupCrit | 102.9303
22 | LL7-FI31-4 | 103.1781 | 1285.4162 | 188.6285 | 11.5722 | 1388.5943 | 308.3742 | 7.3409 |  | 0 |  | 0 |  | 0 | LL7-FI31-4 | LL7-FI31-4.txt | October 10, 2022 | 6.114 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:18:56 PM | 44336 | 1324.987 | 13 | 0.9983 | 103.0025 | 1423.15 | 0.1024 | Y | SupCrit, low density | 0.096443 | -0.24814 | 0.1024 | 0.10262 | -0.21984 | SupCrit | 102.9925
23 | LL7-FI32-repeat | 103.1381 | 1285.3835 | 718.6139 | 4.2007 | 1388.5216 | 1075.4316 | 4.7076 |  | 0 |  | 0 |  | 0 | LL7-FI32-repeat | LL7-FI32-repeat.txt | October 10, 2022 | 6.155 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:33:40 AM | 41620 | 1324.987 | 14 | 0.99823 | 102.9558 | 1423.15 | 0.084846 | Y | SupCrit, low density | 0.079022 | -0.29003 | 0.084846 | 0.085368 | -0.26175 | SupCrit | 102.9458
24 | LL7-FI32 | 103.1186 | 1285.3966 | 563.79 | 2.8014 | 1388.5152 | 848.2943 | 3.5985 |  | 0 |  | 0 |  | 0 | LL7-FI32 | LL7-FI32.txt | October 10, 2022 | 6.081 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 11:23:31 AM | 41011 | 1324.987 | 15 | 0.99822 | 102.9347 | 1423.15 | 0.076899 | Y | SupCrit, low density | 0.071134 | -0.30921 | 0.076899 | 0.077673 | -0.28095 | SupCrit | 102.9247
25 | MLP-5-FI1 | 103.4563 | 1284.6798 | 361.3774 | 2.0455 | 1388.1361 | 559.1111 | 2.573 |  | 0 |  | 0 |  | 0 | MLP-5-FI1 | MLP-5-FI1.txt | October 10, 2022 | 12.006 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:24:32 PM | 55472 | 1324.987 | 16 | 0.9984 | 103.291 | 1423.15 | 0.21648 | Y | SupCrit, Med density | 0.20414 | -0.0032613 | 0.21089 | 0.21648 | 0.024637 | SupCrit | 103.281
26 | LL4-FI2 (1) | 103.0231 | 1286.1221 | 121.1221 | 2.0837 | 1389.1452 | 195.0432 | 2.5626 |  | 0 |  | 0 |  | 0 | LL4-FI2 (1) | LL4-FI2 (1).txt | October 14, 2022 | 12.076 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:58:09 PM | 57489 | 1325.004 | 0 | 0.99793 | 102.81 | 1423.15 | 0.030014 | Y | SupCrit, low density | 0.024597 | -0.42502 | 0.030014 | 0.03381 | -0.39695 | SupCrit | 102.8
27 | LL4-FI2 | 103.0136 | 1286.1404 | 120.8251 | 1.7322 | 1389.154 | 192.0059 | 2.2589 |  | 0 |  | 0 |  | 0 | LL4-FI2 | LL4-FI2.txt | October 14, 2022 | 12.071 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:54:06 PM | 57246 | 1325.004 | 1 | 0.99793 | 102.8008 | 1423.15 | 0.026531 | Y | SupCrit, low density | 0.021139 | -0.43381 | 0.026531 | 0.03066 | -0.40576 | SupCrit | 102.7908
28 | LL4-FI3-4-#1 | 103.0736 | 1285.9009 | 69.2877 | 2.7844 | 1388.9744 | 99.2147 | 2.3622 |  | 0 |  | 0 |  | 0 | LL4-FI3-4-#1 | LL4-FI3-4-#1.txt | October 14, 2022 | 12.042 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:19:39 PM | 58779 | 1325.004 | 2 | 0.99792 | 102.8593 | 1423.15 | 0.048536 | Y | SupCrit, low density | 0.042981 | -0.37873 | 0.048536 | 0.050817 | -0.35056 | SupCrit | 102.8493
29 | LL4-FI3-4-#1rep | 103.0854 | 1285.9051 | 367.9555 | 3.4761 | 1388.9904 | 600.9224 | 3.9268 |  | 0 |  | 0 |  | 0 | LL4-FI3-4-#1rep | LL4-FI3-4-#1rep.txt | October 14, 2022 | 19.932 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:25:09 PM | 59109 | 1325.004 | 3 | 0.99792 | 102.8707 | 1423.15 | 0.052854 | Y | SupCrit, low density | 0.047267 | -0.36804 | 0.052854 | 0.054842 | -0.33985 | SupCrit | 102.8607
30 | LL4-FI3-4-#2 | 103.0694 | 1285.8806 | 267.6018 | 2.5458 | 1388.9501 | 408.4691 | 2.8204 |  | 0 |  | 0 |  | 0 | LL4-FI3-4-#2 | LL4-FI3-4-#2.txt | October 14, 2022 | 12.037 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:34:21 PM | 59661 | 1325.004 | 4 | 0.99791 | 102.8544 | 1423.15 | 0.046698 | Y | SupCrit, low density | 0.041157 | -0.38329 | 0.046698 | 0.04911 | -0.35513 | SupCrit | 102.8444
31 | LL7-107-#2-rep1 | 103.6261 | 1284.5426 | 1283.9129 | 4.6632 | 1388.1687 | 1997.9097 | 5.3806 |  | 0 |  | 0 |  | 0 | LL7-107-#2-rep1 | LL7-107-#2-rep1.txt | October 14, 2022 | 6.039 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:31:45 PM | 45105 | 1325.004 | 5 | 0.99805 | 103.4241 | 1423.15 | 0.27267 | Y | SupCrit, Med density | 0.2538 | 0.10148 | 0.26093 | 0.27267 | 0.12888 | SupCrit | 103.4141
32 | LL7-107-#2-rep2 | 103.6256 | 1284.5599 | 1708.7533 | 5.2779 | 1388.1855 | 2638.7762 | 5.9947 |  | 0 |  | 0 |  | 0 | LL7-107-#2-rep2 | LL7-107-#2-rep2.txt | October 14, 2022 | 6.059 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:39:26 PM | 45566 | 1325.004 | 6 | 0.99805 | 103.423 | 1423.15 | 0.27222 | Y | SupCrit, Med density | 0.25341 | 0.10067 | 0.26054 | 0.27222 | 0.12809 | SupCrit | 103.413
33 | LL7-107-#2-rep3 | 103.6244 | 1284.5838 | 1678.2715 | 5.4967 | 1388.2082 | 2584.7816 | 6.6603 |  | 0 |  | 0 |  | 0 | LL7-107-#2-rep3 | LL7-107-#2-rep3.txt | October 14, 2022 | 6.084 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:46:22 PM | 45982 | 1325.004 | 7 | 0.99804 | 103.4214 | 1423.15 | 0.27154 | Y | SupCrit, Med density | 0.25281 | 0.099445 | 0.25993 | 0.27154 | 0.12686 | SupCrit | 103.4114
34 | LL7-107-#2-rep4 | 103.6045 | 1284.62 | 1590.8795 | 4.8285 | 1388.2244 | 2453.3649 | 6.9977 |  | 0 |  | 0 |  | 0 | LL7-107-#2-rep4 | LL7-107-#2-rep4.txt | October 14, 2022 | 6.103 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:55:25 PM | 46525 | 1325.004 | 8 | 0.99804 | 103.4009 | 1423.15 | 0.26273 | Y | SupCrit, Med density | 0.24514 | 0.083593 | 0.25221 | 0.26273 | 0.1111 | SupCrit | 103.3909
35 | LL7-107-#2-rep5 | 103.6005 | 1284.6348 | 1546.6811 | 4.7615 | 1388.2353 | 2410.2304 | 7.2724 |  | 0 |  | 0 |  | 0 | LL7-107-#2-rep5 | LL7-107-#2-rep5.txt | October 14, 2022 | 6.11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:01:51 PM | 46911 | 1325.004 | 9 | 0.99803 | 103.3965 | 1423.15 | 0.26086 | Y | SupCrit, Med density | 0.24351 | 0.080203 | 0.25056 | 0.26086 | 0.10773 | SupCrit | 103.3865
36 | LL7-19dp-#1 | 103.0476 | 1285.8401 | 222.2793 | 8.0515 | 1388.8878 | 277.9777 | 10.4511 |  | 0 |  | 0 |  | 0 | LL7-19dp-#1 | LL7-19dp-#1.txt | October 14, 2022 | 12.043 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:44:24 PM | 49464 | 1325.004 | 10 | 0.99801 | 102.8421 | 1423.15 | 0.042077 | Y | SupCrit, low density | 0.03657 | -0.39479 | 0.042077 | 0.044837 | -0.36666 | SupCrit | 102.8321
37 | LL7-19dp-#2 | 103.0619 | 1285.8381 | 164.2556 | 12.047 | 1388.8999 | 262.9119 | 14.2211 |  | 0 |  | 0 |  | 0 | LL7-19dp-#2 | LL7-19dp-#2.txt | October 14, 2022 | 12.022 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:52:54 PM | 49974 | 1325.004 | 11 | 0.998 | 102.8558 | 1423.15 | 0.047214 | Y | SupCrit, low density | 0.041668 | -0.38201 | 0.047214 | 0.049588 | -0.35385 | SupCrit | 102.8458
38 | LL7-19dp-#3 | 103.098 | 1285.7554 | 376.9933 | 12.5876 | 1388.8533 | 412.6536 | 14.9041 |  | 0 |  | 0 |  | 0 | LL7-19dp-#3 | LL7-19dp-#3.txt | October 14, 2022 | 11.985 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:15:47 PM | 51347 | 1325.004 | 12 | 0.99799 | 102.8904 | 1423.15 | 0.060246 | Y | SupCrit, low density | 0.054604 | -0.34983 | 0.060246 | 0.061787 | -0.32161 | SupCrit | 102.8804
39 | LL7-19dp-#4 | 103.2296 | 1285.6045 | 778.7953 | 6.4534 | 1388.8341 | 1138.0744 | 8.3421 |  | 0 |  | 0 |  | 0 | LL7-19dp-#4 | LL7-19dp-#4.txt | October 14, 2022 | 6.006 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:24:56 PM | 51896 | 1325.004 | 13 | 0.99798 | 103.0213 | 1423.15 | 0.10946 | Y | SupCrit, low density | 0.10345 | -0.23146 | 0.10946 | 0.10966 | -0.20315 | SupCrit | 103.0113
40 | LL7-19dp-#5 | 103.2262 | 1285.6182 | 742.2095 | 6.2265 | 1388.8444 | 1111.8507 | 7.0942 |  | 0 |  | 0 |  | 0 | LL7-19dp-#5 | LL7-19dp-#5.txt | October 14, 2022 | 11.993 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:34:06 PM | 52446 | 1325.004 | 14 | 0.99798 | 103.0173 | 1423.15 | 0.10798 | Y | SupCrit, low density | 0.10198 | -0.23495 | 0.10798 | 0.10818 | -0.20665 | SupCrit | 103.0073
41 | LL7-19dp-#6 | 103.2242 | 1285.6042 | 1493.7343 | 9.2367 | 1388.8284 | 2193.3546 | 10.3847 |  | 0 |  | 0 |  | 0 | LL7-19dp-#6 | LL7-19dp-#6.txt | October 14, 2022 | 12.017 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:46:57 PM | 53217 | 1325.004 | 15 | 0.99797 | 103.0146 | 1423.15 | 0.10694 | Y | SupCrit, low density | 0.10095 | -0.23739 | 0.10694 | 0.10714 | -0.20909 | SupCrit | 103.0046
42 | LL7-19dp-#7 | 103.1173 | 1285.7911 | 461.6097 | 8.5266 | 1388.9084 | 637.6165 | 8.7503 |  | 0 |  | 0 |  | 0 | LL7-19dp-#7 | LL7-19dp-#7.txt | October 14, 2022 | 12.037 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:56:37 PM | 53797 | 1325.004 | 16 | 0.99796 | 102.9074 | 1423.15 | 0.066621 | Y | SupCrit, low density | 0.060932 | -0.33421 | 0.066621 | 0.067829 | -0.30598 | SupCrit | 102.8974
43 | LL7-20 | 103.3043 | 1285.4788 | 26.9644 | 1.5547 | 1388.7831 | 53.4562 | 1.8225 |  | 0 |  | 0 |  | 0 | LL7-20 | LL7-20.txt | October 14, 2022 | 11.992 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:22:48 PM | 55368 | 1325.004 | 17 | 0.99795 | 103.0925 | 1423.15 | 0.13623 | Y | SupCrit, low density | 0.13003 | -0.16916 | 0.13623 | 0.13684 | -0.14089 | SupCrit | 103.0825
44 | LL8-FI38-#1 | 103.0211 | 1286.0011 | 229.8189 | 18.2532 | 1389.0222 | 242.5042 | 19.6359 |  | 0 |  | 0 |  | 0 | LL8-FI38-#1 | LL8-FI38-#1.txt | October 14, 2022 | 20.011 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:45:58 PM | 60358 | 1325.004 | 18 | 0.99791 | 102.8055 | 1423.15 | 0.028334 | Y | SupCrit, low density | 0.022929 | -0.42926 | 0.028334 | 0.032289 | -0.4012 | SupCrit | 102.7955
45 | LL4-FI10-#1 | 103.4047 | 1284.9212 | 1078.2491 | 5.2965 | 1388.3259 | 1648.4525 | 6.437 |  | 0 |  | 0 |  | 0 | LL4-FI10-#1 | LL4-FI10-#1.txt | October 17, 2022 | 6.011 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:48:12 PM | 53292 | 1325.004 | 0 | 0.99785 | 103.1822 | 1423.15 | 0.17215 | Y | SupCrit, Med density | 0.1635 | -0.092798 | 0.16996 | 0.17215 | -0.064642 | SupCrit | 103.1722
46 | LL4-FI10-#10 | 103.4114 | 1284.9083 | 259.8591 | 3.8085 | 1388.3196 | 383.2241 | 3.956 |  | 0 |  | 0 |  | 0 | LL4-FI10-#10 | LL4-FI10-#10.txt | October 17, 2022 | 6.008 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:00:03 PM | 57603 | 1325.004 | 1 | 0.99781 | 103.1848 | 1423.15 | 0.17321 | Y | SupCrit, Med density | 0.16449 | -0.090578 | 0.17095 | 0.17321 | -0.062427 | SupCrit | 103.1748
47 | LL4-FI10-#11 | 103.3899 | 1284.9642 | 864.2821 | 4.9712 | 1388.3541 | 1328.3012 | 4.7169 |  | 0 |  | 0 |  | 0 | LL4-FI10-#11 | LL4-FI10-#11.txt | October 17, 2022 | 6.048 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:07:58 PM | 58078 | 1325.004 | 2 | 0.99781 | 103.1631 | 1423.15 | 0.16279 | Y | SupCrit, low density | 0.15639 | -0.10882 | 0.16279 | 0.16455 | -0.080634 | SupCrit | 103.1531
48 | LL4-FI10-#12 | 103.4223 | 1284.8872 | 848.5814 | 3.9624 | 1388.3094 | 1300.0995 | 4.7092 |  | 0 |  | 0 |  | 0 | LL4-FI10-#12 | LL4-FI10-#12.txt | October 17, 2022 | 6.049 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:14:37 PM | 58477 | 1325.004 | 3 | 0.9978 | 103.1952 | 1423.15 | 0.17737 | Y | SupCrit, Med density | 0.16837 | -0.081893 | 0.17486 | 0.17737 | -0.053761 | SupCrit | 103.1852
49 | LL4-FI10-#13 | 103.4086 | 1284.8911 | 647.966 | 4.441 | 1388.2997 | 991.7089 | 5.0801 |  | 0 |  | 0 |  | 0 | LL4-FI10-#13 | LL4-FI10-#13.txt | October 17, 2022 | 6.018 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:24:13 PM | 59053 | 1325.004 | 4 | 0.9978 | 103.1814 | 1423.15 | 0.17184 | Y | SupCrit, Med density | 0.16322 | -0.093433 | 0.16967 | 0.17184 | -0.065276 | SupCrit | 103.1714
50 | LL4-FI10-#2 | 103.4199 | 1284.9273 | 965.0349 | 4.74 | 1388.3472 | 1490.4417 | 5.5907 |  | 0 |  | 0 |  | 0 | LL4-FI10-#2 | LL4-FI10-#2.txt | October 17, 2022 | 6.009 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:53:03 PM | 53583 | 1325.004 | 5 | 0.99785 | 103.1971 | 1423.15 | 0.17814 | Y | SupCrit, Med density | 0.16908 | -0.080305 | 0.17558 | 0.17814 | -0.052177 | SupCrit | 103.1871
51 | LL4-FI10-#3 | 103.4186 | 1284.9172 | 600.7437 | 5.0953 | 1388.3358 | 885.4862 | 5.4258 |  | 0 |  | 0 |  | 0 | LL4-FI10-#3 | LL4-FI10-#3.txt | October 17, 2022 | 5.999 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:58:12 PM | 53892 | 1325.004 | 6 | 0.99784 | 103.1955 | 1423.15 | 0.17751 | Y | SupCrit, Med density | 0.1685 | -0.081599 | 0.17499 | 0.17751 | -0.053468 | SupCrit | 103.1855
52 | LL4-FI10-#4 | 103.4269 | 1284.9014 | 716.5143 | 4.92 | 1388.3283 | 1097.1365 | 5.1902 |  | 0 |  | 0 |  | 0 | LL4-FI10-#4 | LL4-FI10-#4.txt | October 17, 2022 | 6.018 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:03:02 PM | 54182 | 1325.004 | 7 | 0.99784 | 103.2035 | 1423.15 | 0.18072 | Y | SupCrit, Med density | 0.17148 | -0.074957 | 0.17799 | 0.18072 | -0.046841 | SupCrit | 103.1935
53 | LL4-FI10-#5 | 103.4191 | 1284.9041 | 1092.6563 | 5.5148 | 1388.3232 | 1692.3956 | 5.9833 |  | 0 |  | 0 |  | 0 | LL4-FI10-#5 | LL4-FI10-#5.txt | October 17, 2022 | 5.996 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:08:16 PM | 54496 | 1325.004 | 8 | 0.99784 | 103.1955 | 1423.15 | 0.17748 | Y | SupCrit, Med density | 0.16847 | -0.081673 | 0.17496 | 0.17748 | -0.053542 | SupCrit | 103.1855
54 | LL4-FI10-#6 | 103.4182 | 1284.9179 | 1203.1649 | 4.9644 | 1388.3362 | 1834.8257 | 5.6145 |  | 0 |  | 0 |  | 0 | LL4-FI10-#6 | LL4-FI10-#6.txt | October 17, 2022 | 6.007 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:18:12 PM | 55092 | 1325.004 | 9 | 0.99783 | 103.194 | 1423.15 | 0.17691 | Y | SupCrit, Med density | 0.16793 | -0.082866 | 0.17442 | 0.17691 | -0.054732 | SupCrit | 103.184
55 | LL4-FI10-#7 | 103.3966 | 1284.9269 | 203.6891 | 3.4105 | 1388.3235 | 297.2665 | 3.9039 |  | 0 |  | 0 |  | 0 | LL4-FI10-#7 | LL4-FI10-#7.txt | October 17, 2022 | 6.017 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:23:50 PM | 55430 | 1325.004 | 10 | 0.99783 | 103.1721 | 1423.15 | 0.16814 | Y | SupCrit, Med density | 0.15975 | -0.10124 | 0.16618 | 0.16814 | -0.073062 | SupCrit | 103.1621
56 | LL4-FI10-#8 | 103.4226 | 1284.9118 | 1312.5868 | 5.1649 | 1388.3344 | 2008.0752 | 6.4024 |  | 0 |  | 0 |  | 0 | LL4-FI10-#8 | LL4-FI10-#8.txt | October 17, 2022 | 6.023 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:30:47 PM | 55847 | 1325.004 | 11 | 0.99782 | 103.1976 | 1423.15 | 0.17835 | Y | SupCrit, Med density | 0.16928 | -0.07986 | 0.17578 | 0.17835 | -0.051732 | SupCrit | 103.1876
57 | LL4-FI10-#9 | 103.3811 | 1284.9518 | 292.3648 | 5.7756 | 1388.3328 | 458.1916 | 5.9016 |  | 0 |  | 0 |  | 0 | LL4-FI10-#9 | LL4-FI10-#9.txt | October 17, 2022 | 6.021 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:40:01 PM | 56401 | 1325.004 | 12 | 0.99782 | 103.1556 | 1423.15 | 0.15998 | Y | SupCrit, low density | 0.1536 | -0.11515 | 0.15998 | 0.16158 | -0.086949 | SupCrit | 103.1456
58 | LL4-FI12-#1 | 103.2424 | 1285.3448 | 1123.3142 | 16.6269 | 1388.5872 | 1836.3546 | 13.8902 |  | 0 |  | 0 |  | 0 | LL4-FI12-#1 | LL4-FI12-#1.txt | October 17, 2022 | 12.009 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:34:19 PM | 59659 | 1325.004 | 13 | 0.9978 | 103.0156 | 1423.15 | 0.10734 | Y | SupCrit, low density | 0.10134 | -0.23646 | 0.10734 | 0.10754 | -0.20816 | SupCrit | 103.0056
59 | LL4-FI12-#2 | 103.2581 | 1285.3712 | 456.591 | 15.0153 | 1388.6293 | 647.8221 | 22.2465 |  | 0 |  | 0 |  | 0 | LL4-FI12-#2 | LL4-FI12-#2.txt | October 17, 2022 | 12.054 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:39:38 PM | 59978 | 1325.004 | 14 | 0.9978 | 103.0314 | 1423.15 | 0.11326 | Y | SupCrit, low density | 0.10723 | -0.22251 | 0.11326 | 0.11348 | -0.19421 | SupCrit | 103.0214
60 | LL4-FI12dp | 103.1814 | 1285.5439 | 516.8385 | 4.1746 | 1388.7253 | 756.8598 | 4.9109 |  | 0 |  | 0 |  | 0 | LL4-FI12dp | LL4-FI12dp.txt | October 17, 2022 | 6.027 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:37:14 PM | 52634 | 1325.004 | 15 | 0.99785 | 102.9597 | 1423.15 | 0.086296 | Y | SupCrit, low density | 0.080461 | -0.28655 | 0.086296 | 0.086781 | -0.25826 | SupCrit | 102.9497
61 | LL4-FI5-rep1 | 103.703 | 1284.0301 | 1537.3315 | 5.991 | 1387.7331 | 2354.1436 | 6.9911 |  | 0 |  | 0 |  | 0 | LL4-FI5-rep1 | LL4-FI5-rep1.txt | October 17, 2022 | 5.995 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 10:27:26 AM | 37646 | 1325.004 | 16 | 0.99769 | 103.4636 | 1423.15 | 0.28977 | Y | SupCrit, Med density | 0.26857 | 0.13162 | 0.2758 | 0.28977 | 0.15884 | SupCrit | 103.4536
62 | LL4-FI6 | 103.3191 | 1285.0029 | 1089.2745 | 5.2253 | 1388.3221 | 1601.1557 | 5.8958 |  | 0 |  | 0 |  | 0 | LL4-FI6 | LL4-FI6.txt | October 17, 2022 | 11.962 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 10:50:05 AM | 39005 | 1325.004 | 17 | 0.99769 | 103.0808 | 1423.15 | 0.13183 | Y | SupCrit, low density | 0.12566 | -0.1793 | 0.13183 | 0.13232 | -0.15102 | SupCrit | 103.0708
63 | LL4-FI7-#1 | 103.2182 | 1285.4993 | 231.0359 | 3.8948 | 1388.7175 | 325.26 | 3.8057 |  | 0 |  | 0 |  | 0 | LL4-FI7-#1 | LL4-FI7-#1.txt | October 17, 2022 | 12.058 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 11:52:31 AM | 42751 | 1325.004 | 18 | 0.99775 | 102.9859 | 1423.15 | 0.096155 | Y | SupCrit, low density | 0.090248 | -0.26296 | 0.096155 | 0.096446 | -0.23467 | SupCrit | 102.9759
64 | LL4-FI7-#10-rep1 | 103.1765 | 1285.5737 | 612.2031 | 2.6745 | 1388.7501 | 921.3027 | 3.5812 |  | 0 |  | 0 |  | 0 | LL4-FI7-#10-rep1 | LL4-FI7-#10-rep1.txt | October 17, 2022 | 6.011 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:21:53 PM | 48113 | 1325.004 | 19 | 0.99784 | 102.9538 | 1423.15 | 0.084076 | Y | SupCrit, low density | 0.078257 | -0.29189 | 0.084076 | 0.084619 | -0.26361 | SupCrit | 102.9438
65 | LL4-FI7-#10 | 103.1659 | 1285.5811 | 1234.8875 | 4.2141 | 1388.7471 | 1867.7758 | 5.8444 |  | 0 |  | 0 |  | 0 | LL4-FI7-#10 | LL4-FI7-#10.txt | October 17, 2022 | 12.041 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:16:58 PM | 47818 | 1325.004 | 20 | 0.99784 | 102.943 | 1423.15 | 0.080005 | Y | SupCrit, low density | 0.074217 | -0.3017 | 0.080005 | 0.080672 | -0.27343 | SupCrit | 102.933
66 | LL4-FI7-#11 | 103.1856 | 1285.5761 | 474.6597 | 2.2497 | 1388.7617 | 707.8584 | 2.8873 |  | 0 |  | 0 |  | 0 | LL4-FI7-#11 | LL4-FI7-#11.txt | October 17, 2022 | 6.039 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:30:33 PM | 48633 | 1325.004 | 21 | 0.99785 | 102.9634 | 1423.15 | 0.08771 | Y | SupCrit, low density | 0.081865 | -0.28315 | 0.08771 | 0.08816 | -0.25487 | SupCrit | 102.9534
67 | LL4-FI7-#12 | 103.177 | 1285.5577 | 408.2495 | 2.1761 | 1388.7347 | 631.2255 | 2.4014 |  | 0 |  | 0 |  | 0 | LL4-FI7-#12 | LL4-FI7-#12.txt | October 17, 2022 | 6.033 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:42:09 PM | 49329 | 1325.004 | 22 | 0.99785 | 102.9553 | 1423.15 | 0.084657 | Y | SupCrit, low density | 0.078835 | -0.29049 | 0.084657 | 0.085185 | -0.26221 | SupCrit | 102.9453
68 | LL4-FI7-#12cosmicray | 103.1938 | 1285.5497 | 410.795 | 1.8678 | 1388.7436 | 625.3348 | 2.4961 |  | 0 |  | 0 |  | 0 | LL4-FI7-#12cosmicray | LL4-FI7-#12cosmicray.txt | October 17, 2022 | 6.026 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:37:51 PM | 49071 | 1325.004 | 23 | 0.99785 | 102.972 | 1423.15 | 0.090917 | Y | SupCrit, low density | 0.085048 | -0.27547 | 0.090917 | 0.091297 | -0.24718 | SupCrit | 102.962
69 | LL4-FI7-#13 | 103.0488 | 1285.6799 | 37.3473 | 3.1168 | 1388.7287 | 78.9425 | 2.2153 |  | 0 |  | 0 |  | 0 | LL4-FI7-#13 | LL4-FI7-#13.txt | October 17, 2022 | 6.02 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:49:41 PM | 49781 | 1325.004 | 24 | 0.99785 | 102.8276 | 1423.15 | 0.036633 | Y | SupCrit, low density | 0.031166 | -0.4084 | 0.036633 | 0.039838 | -0.38029 | SupCrit | 102.8176
70 | LL4-FI7-#2 | 103.1964 | 1285.5029 | 244.4938 | 2.1039 | 1388.6992 | 364.1944 | 2.5695 |  | 0 |  | 0 |  | 0 | LL4-FI7-#2 | LL4-FI7-#2.txt | October 17, 2022 | 5.994 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:04:03 PM | 43443 | 1325.004 | 25 | 0.99776 | 102.9656 | 1423.15 | 0.088516 | Y | SupCrit, low density | 0.082665 | -0.28122 | 0.088516 | 0.088948 | -0.25293 | SupCrit | 102.9556
71 | LL4-FI7-#3-cosmicrays | 103.1338 | 1285.556 | 154.2871 | 2.7159 | 1388.6898 | 235.251 | 2.5654 |  | 0 |  | 0 |  | 0 | LL4-FI7-#3-cosmicrays | LL4-FI7-#3-cosmicrays.txt | October 17, 2022 | 12.002 | 45 | 4 | 50 | ['0h', '3m', '32s'] | 12:12:45 PM | 43965 | 1325.004 | 26 | 0.99777 | 102.9042 | 1423.15 | 0.065443 | Y | SupCrit, low density | 0.059763 | -0.33709 | 0.065443 | 0.066709 | -0.30886 | SupCrit | 102.8942
72 | LL4-FI7-#3 | 103.1391 | 1285.5493 | 146.6345 | 2.459 | 1388.6884 | 253.7267 | 2.5431 |  | 0 |  | 0 |  | 0 | LL4-FI7-#3 | LL4-FI7-#3.txt | October 17, 2022 | 12.002 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:16:18 PM | 44178 | 1325.004 | 27 | 0.99778 | 102.91 | 1423.15 | 0.067599 | Y | SupCrit, low density | 0.061903 | -0.33182 | 0.067599 | 0.068761 | -0.30358 | SupCrit | 102.9
73 | LL4-FI7-#4 | 103.1675 | 1285.5104 | 240.5044 | 2.0556 | 1388.6778 | 362.9751 | 2.1847 |  | 0 |  | 0 |  | 0 | LL4-FI7-#4 | LL4-FI7-#4.txt | October 17, 2022 | 12.082 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:27:22 PM | 44842 | 1325.004 | 28 | 0.99779 | 102.9397 | 1423.15 | 0.078764 | Y | SupCrit, low density | 0.072985 | -0.3047 | 0.078764 | 0.079472 | -0.27643 | SupCrit | 102.9297
74 | LL4-FI7-#5 | 103.1775 | 1285.5342 | 533.1052 | 2.0728 | 1388.7117 | 797.4025 | 2.8789 |  | 0 |  | 0 |  | 0 | LL4-FI7-#5 | LL4-FI7-#5.txt | October 17, 2022 | 6.015 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:35:13 PM | 45313 | 1325.004 | 29 | 0.9978 | 102.9506 | 1423.15 | 0.082876 | Y | SupCrit, low density | 0.077067 | -0.29478 | 0.082876 | 0.083454 | -0.2665 | SupCrit | 102.9406
75 | LL4-FI7-#6 | 103.1738 | 1285.5477 | 248.9777 | 1.8739 | 1388.7214 | 375.1061 | 1.9951 |  | 0 |  | 0 |  | 0 | LL4-FI7-#6 | LL4-FI7-#6.txt | October 17, 2022 | 6.033 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:42:20 PM | 45740 | 1325.004 | 30 | 0.99781 | 102.9476 | 1423.15 | 0.081764 | Y | SupCrit, low density | 0.075963 | -0.29746 | 0.081764 | 0.082376 | -0.26918 | SupCrit | 102.9376
76 | LL4-FI7-#7-rep1 | 102.9139 | 1285.8375 | 5970.4873 | 2.2341 | 1388.7514 | 104.8418 | 2.0767 |  | 0 |  | 0 |  | 0 | LL4-FI7-#7-rep1 | LL4-FI7-#7-rep1.txt | October 17, 2022 | 11.994 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:51:55 PM | 46315 | 1325.004 | 31 | 0.99782 | 102.6893 | 1423.15 | -0.015383 | N | Below lower calibration limit | -0.020464 | -0.54149 | -0.015383 | -0.0060028 | -0.51377 | SupCrit | 102.6793
77 | LL4-FI7-#7 | 103.7685 | 1285.5074 | 37.6058 | 2.5635 | 1389.2759 | 3065.864 | 3.1216 |  | 0 |  | 0 |  | 0 | LL4-FI7-#7 | LL4-FI7-#7.txt | October 17, 2022 | 6.03 | 45 | 2 | 50 | ['0h', '1m', '39s'] | 12:48:27 PM | 46107 | 1325.004 | 32 | 0.99781 | 103.5417 | 1423.15 | 0.32397 | Y | SupCrit, Med density | 0.29769 | 0.18973 | 0.30514 | 0.32397 | 0.21654 | SupCrit | 103.5317
78 | LL4-FI7-#8 | 103.1985 | 1285.451 | 836.2902 | 3.0024 | 1388.6495 | 1220.858 | 4.7213 |  | 0 |  | 0 |  | 0 | LL4-FI7-#8 | LL4-FI7-#8.txt | October 17, 2022 | 12.036 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:00:42 PM | 46842 | 1325.004 | 33 | 0.99783 | 102.9741 | 1423.15 | 0.091732 | Y | SupCrit, low density | 0.085857 | -0.27352 | 0.091732 | 0.092096 | -0.24523 | SupCrit | 102.9641
79 | LL4-FI7-#9 | 103.1575 | 1285.5794 | 342.7682 | 2.4258 | 1388.7369 | 514.4099 | 3.0814 |  | 0 |  | 0 |  | 0 | LL4-FI7-#9 | LL4-FI7-#9.txt | October 17, 2022 | 12.069 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:08:35 PM | 47315 | 1325.004 | 34 | 0.99783 | 102.9339 | 1423.15 | 0.076589 | Y | SupCrit, low density | 0.070826 | -0.30996 | 0.076589 | 0.077374 | -0.2817 | SupCrit | 102.9239
80 | LL4-FI8-#1 | 103.5372 | 1284.6158 | 2142.776 | 6.0805 | 1388.1529 | 3334.1434 | 8.6635 |  | 0 |  | 0 |  | 0 | LL4-FI8-#1 | LL4-FI8-#1.txt | October 17, 2022 | 6.039 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:05:00 PM | 50700 | 1325.004 | 35 | 0.99786 | 103.3152 | 1423.15 | 0.22653 | Y | SupCrit, Med density | 0.21316 | 0.016147 | 0.21998 | 0.22653 | 0.04397 | SupCrit | 103.3052
81 | LL4-FI8-#1cosmicratondiad | 103.5473 | 1284.5941 | 2171.2547 | 5.8033 | 1388.1414 | 3343.8077 | 8.7352 |  | 0 |  | 0 |  | 0 | LL4-FI8-#1cosmicratondiad | LL4-FI8-#1cosmicratondiad.txt | October 17, 2022 | 6.039 | 45 | 4 | 50 | ['0h', '3m', '34s'] | 2:01:24 PM | 50484 | 1325.004 | 36 | 0.99786 | 103.3253 | 1423.15 | 0.23077 | Y | SupCrit, Med density | 0.21694 | 0.024237 | 0.22379 | 0.23077 | 0.052028 | SupCrit | 103.3153
82 | LL4-FI9-#1 | 103.2334 | 1285.4438 | 566.1514 | 3.4425 | 1388.6772 | 864.6406 | 4.0794 |  | 0 |  | 0 |  | 0 | LL4-FI9-#1 | LL4-FI9-#1.txt | October 17, 2022 | 6.029 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:25:42 PM | 51942 | 1325.004 | 37 | 0.99785 | 103.0119 | 1423.15 | 0.10594 | Y | SupCrit, low density | 0.099956 | -0.23976 | 0.10594 | 0.10614 | -0.21146 | SupCrit | 103.0019
83 | LL4-21-#2-12mw-rep1 | 103.3847 | 1285.2657 | 3772.6332 | 8.4837 | 1388.6504 | 5779.842 | 13.893 |  | 0 |  | 0 |  | 0 | LL4-21-#2-12mw-rep1 | LL4-21-#2-12mw-rep1.txt | October 18, 2022 | 12.009 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:43:01 PM | 56581 | 1325.004 | 1 | 0.99749 | 103.125 | 1423.15 | 0.14847 | Y | SupCrit, low density | 0.14218 | -0.14118 | 0.14847 | 0.14952 | -0.11294 | SupCrit | 103.115
84 | LL4-21-#2-12mw-rep2 | 103.3823 | 1285.2644 | 3277.357 | 7.2888 | 1388.6467 | 5070.6325 | 12.9599 |  | 0 |  | 0 |  | 0 | LL4-21-#2-12mw-rep2 | LL4-21-#2-12mw-rep2.txt | October 18, 2022 | 12.012 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:08:50 PM | 58130 | 1325.004 | 2 | 0.99747 | 103.121 | 1423.15 | 0.14696 | Y | SupCrit, low density | 0.14067 | -0.14462 | 0.14696 | 0.14795 | -0.11638 | SupCrit | 103.111
85 | LL4-21-#2-12mw-rep3 | 103.3786 | 1285.2634 | 3283.4042 | 7.8346 | 1388.642 | 5117.3841 | 12.7738 |  | 0 |  | 0 |  | 0 | LL4-21-#2-12mw-rep3 | LL4-21-#2-12mw-rep3.txt | October 18, 2022 | 12.017 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:14:11 PM | 58451 | 1325.004 | 3 | 0.99747 | 103.1169 | 1423.15 | 0.14542 | Y | SupCrit, low density | 0.13915 | -0.14812 | 0.14542 | 0.14635 | -0.11987 | SupCrit | 103.1069
86 | LL4-21-#2-6mw-rep1 | 103.3747 | 1285.266 | 1919.0836 | 4.4667 | 1388.6407 | 2933.7799 | 7.4154 |  | 0 |  | 0 |  | 0 | LL4-21-#2-6mw-rep1 | LL4-21-#2-6mw-rep1.txt | October 18, 2022 | 6.035 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:48:58 PM | 56938 | 1325.004 | 4 | 0.99748 | 103.1147 | 1423.15 | 0.1446 | Y | SupCrit, low density | 0.13833 | -0.14999 | 0.1446 | 0.1455 | -0.12174 | SupCrit | 103.1047
87 | LL4-21-#2-6mw-rep2 | 103.3801 | 1285.2649 | 1770.6565 | 3.9297 | 1388.645 | 2716.2873 | 6.9854 |  | 0 |  | 0 |  | 0 | LL4-21-#2-6mw-rep2 | LL4-21-#2-6mw-rep2.txt | October 18, 2022 | 6.037 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:57:29 PM | 57449 | 1325.004 | 5 | 0.99748 | 103.1195 | 1423.15 | 0.1464 | Y | SupCrit, low density | 0.14012 | -0.1459 | 0.1464 | 0.14736 | -0.11765 | SupCrit | 103.1095
88 | LL4-21-#2-6mw-rep3 | 103.3868 | 1285.2643 | 1725.1824 | 4.0891 | 1388.6511 | 2647.6726 | 6.6747 |  | 0 |  | 0 |  | 0 | LL4-21-#2-6mw-rep3 | LL4-21-#2-6mw-rep3.txt | October 18, 2022 | 6.039 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:01:30 PM | 57690 | 1325.004 | 6 | 0.99748 | 103.126 | 1423.15 | 0.14883 | Y | SupCrit, low density | 0.14253 | -0.14036 | 0.14883 | 0.1499 | -0.11212 | SupCrit | 103.116
89 | LL4-5-#1 | 103.5091 | 1284.8915 | 4118.5405 | 31.9397 | 1388.4006 | 6219.0385 | 40.0622 |  | 0 |  | 0 |  | 0 | LL4-5-#1 | LL4-5-#1.txt | October 18, 2022 | 12.052 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:45:15 PM | 53115 | 1325.004 | 7 | 0.99752 | 103.2529 | 1423.15 | 0.20077 | Y | SupCrit, Med density | 0.1899 | -0.034234 | 0.19655 | 0.20077 | -0.0062311 | SupCrit | 103.2429
90 | LL4-5-#1rep1 | 103.485 | 1284.8788 | 1251.6542 | 12.3054 | 1388.3638 | 1852.4823 | 14.0649 |  | 0 |  | 0 |  | 0 | LL4-5-#1rep1 | LL4-5-#1rep1.txt | October 18, 2022 | 12.003 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:54:46 PM | 53686 | 1325.004 | 8 | 0.99752 | 103.2282 | 1423.15 | 0.19071 | Y | SupCrit, Med density | 0.18069 | -0.054499 | 0.18727 | 0.19071 | -0.026436 | SupCrit | 103.2182
91 | LL4-5-#1rep2 | 103.524 | 1284.8271 | 621.6557 | 6.7377 | 1388.3511 | 942.6578 | 6.5286 |  | 0 |  | 0 |  | 0 | LL4-5-#1rep2 | LL4-5-#1rep2.txt | October 18, 2022 | 6.009 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:58:55 PM | 53935 | 1325.004 | 9 | 0.99752 | 103.2669 | 1423.15 | 0.20651 | Y | SupCrit, Med density | 0.19512 | -0.022824 | 0.20181 | 0.20651 | 0.0051428 | SupCrit | 103.2569
92 | LL4-6-#1 | 103.5829 | 1284.5089 | 550.1618 | 47.1398 | 1388.0918 | 990.4265 | 52.8539 |  | 0 |  | 0 |  | 0 | LL4-6-#1 | LL4-6-#1.txt | October 18, 2022 | 12.02 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:19:23 PM | 55163 | 1325.004 | 11 | 0.9975 | 103.3243 | 1423.15 | 0.23034 | Y | SupCrit, Med density | 0.21656 | 0.023427 | 0.22341 | 0.23034 | 0.05122 | SupCrit | 103.3143
93 | LL7-FI17-#1-rep1 | 103.3264 | 1285.4629 | 2394.6093 | 16.1164 | 1388.7893 | 3610.8401 | 18.4352 |  | 0 |  | 0 |  | 0 | LL7-FI17-#1-rep1 | LL7-FI17-#1-rep1.txt | October 18, 2022 | 12.056 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:39:48 PM | 49188 | 1325.004 | 14 | 0.99757 | 103.0749 | 1423.15 | 0.12963 | Y | SupCrit, low density | 0.12348 | -0.18438 | 0.12963 | 0.13007 | -0.1561 | SupCrit | 103.0649
94 | LL7-FI17-#1-rep2 | 103.3119 | 1285.4669 | 2207.8219 | 11.9229 | 1388.7788 | 3388.8856 | 14.5752 |  | 0 |  | 0 |  | 0 | LL7-FI17-#1-rep2 | LL7-FI17-#1-rep2.txt | October 18, 2022 | 12.091 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:45:49 PM | 49549 | 1325.004 | 15 | 0.99756 | 103.06 | 1423.15 | 0.12403 | Y | SupCrit, low density | 0.11791 | -0.19738 | 0.12403 | 0.12436 | -0.16908 | SupCrit | 103.05
95 | LL7-FI17-#1-rep3 | 103.3158 | 1285.4589 | 2175.529 | 12.1007 | 1388.7747 | 3285.15 | 13.2236 |  | 0 |  | 0 |  | 0 | LL7-FI17-#1-rep3 | LL7-FI17-#1-rep3.txt | October 18, 2022 | 12.108 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:50:41 PM | 49841 | 1325.004 | 16 | 0.99756 | 103.0636 | 1423.15 | 0.12538 | Y | SupCrit, low density | 0.11926 | -0.19422 | 0.12538 | 0.12574 | -0.16593 | SupCrit | 103.0536
96 | LL7-FI17-#1-rep4 | 103.3262 | 1285.45 | 1092.3153 | 6.4747 | 1388.7763 | 1666.3558 | 7.7896 |  | 0 |  | 0 |  | 0 | LL7-FI17-#1-rep4 | LL7-FI17-#1-rep4.txt | October 18, 2022 | 6.045 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:00:00 PM | 50400 | 1325.004 | 17 | 0.99755 | 103.0734 | 1423.15 | 0.12907 | Y | SupCrit, low density | 0.12292 | -0.18567 | 0.12907 | 0.1295 | -0.15739 | SupCrit | 103.0634
97 | LL7-FI17-#1-rep5 | 103.3261 | 1285.4401 | 1136.7039 | 6.6215 | 1388.7661 | 1704.1519 | 7.073 |  | 0 |  | 0 |  | 0 | LL7-FI17-#1-rep5 | LL7-FI17-#1-rep5.txt | October 18, 2022 | 6.047 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:04:38 PM | 50678 | 1325.004 | 18 | 0.99755 | 103.073 | 1423.15 | 0.1289 | Y | SupCrit, low density | 0.12275 | -0.18607 | 0.1289 | 0.12933 | -0.15779 | SupCrit | 103.063
98 | LL7-FI17-#1-rep6 | 103.3148 | 1285.4499 | 1040.5526 | 6.2919 | 1388.7648 | 1593.4797 | 7.5045 |  | 0 |  | 0 |  | 0 | LL7-FI17-#1-rep6 | LL7-FI17-#1-rep6.txt | October 18, 2022 | 6.051 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:09:36 PM | 50976 | 1325.004 | 19 | 0.99755 | 103.0614 | 1423.15 | 0.12456 | Y | SupCrit, low density | 0.11844 | -0.19614 | 0.12456 | 0.1249 | -0.16785 | SupCrit | 103.0514
99 | LL7-FI18-#1 | 103.079 | 1285.909 | 581.7767 | 22.6235 | 1388.988 | 716.163 | 24.0763 |  | 0 |  | 0 |  | 0 | LL7-FI18-#1 | LL7-FI18-#1.txt | October 18, 2022 | 12.024 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:00:02 PM | 46802 | 1325.004 | 21 | 0.99759 | 102.8307 | 1423.15 | 0.037781 | Y | SupCrit, low density | 0.032306 | -0.40552 | 0.037781 | 0.040889 | -0.37741 | SupCrit | 102.8207
101 | LL4-14dp-FI#1rep1 | 103.42 | 1284.9826 | 4055.1225 | 14.4322 | 1388.4026 | 6172.1057 | 18.6387 |  | 0 |  | 0 |  | 0 | LL4-14dp-FI#1rep1 | LL4-14dp-FI#1rep1.txt | October 20, 2022 | 12.093 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:50:13 PM | 46213 | 1325.004 | 3 | 0.99791 | 103.2036 | 1423.15 | 0.18075 | Y | SupCrit, Med density | 0.1715 | -0.074908 | 0.17801 | 0.18075 | -0.046792 | SupCrit | 103.1936
102 | LL4-14dp-FI#1rep2 | 103.4176 | 1284.9946 | 4118.1216 | 13.1751 | 1388.4122 | 6277.0176 | 17.026 |  | 0 |  | 0 |  | 0 | LL4-14dp-FI#1rep2 | LL4-14dp-FI#1rep2.txt | October 20, 2022 | 12.084 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:57:14 PM | 46634 | 1325.004 | 4 | 0.99789 | 103.1999 | 1423.15 | 0.17925 | Y | SupCrit, Med density | 0.17011 | -0.077999 | 0.17662 | 0.17925 | -0.049877 | SupCrit | 103.1899
103 | LL4-14dp-FI#1rep3 | 103.415 | 1285.0003 | 4215.9352 | 12.2844 | 1388.4153 | 6471.3222 | 18.4925 |  | 0 |  | 0 |  | 0 | LL4-14dp-FI#1rep3 | LL4-14dp-FI#1rep3.txt | October 20, 2022 | 12.104 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:03:06 PM | 46986 | 1325.004 | 5 | 0.99788 | 103.1962 | 1423.15 | 0.17778 | Y | SupCrit, Med density | 0.16874 | -0.081058 | 0.17524 | 0.17778 | -0.052927 | SupCrit | 103.1862
104 | LL4-14dp-FI#2 | 103.4316 | 1285.0201 | 2364.7347 | 9.4828 | 1388.4517 | 3671.6776 | 11.2485 |  | 0 |  | 0 |  | 0 | LL4-14dp-FI#2 | LL4-14dp-FI#2.txt | October 20, 2022 | 12.03 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:15:01 PM | 51301 | 1325.004 | 6 | 0.99779 | 103.203 | 1423.15 | 0.18053 | Y | SupCrit, Med density | 0.1713 | -0.075351 | 0.17781 | 0.18053 | -0.047234 | SupCrit | 103.193
112 | LL4-FI12b-FI#1 | 103.2735 | 1285.4037 | 1298.383 | 4.7539 | 1388.6772 | 2014.3178 | 6.6883 |  | 0 |  | 0 |  | 0 | LL4-FI12b-FI#1 | LL4-FI12b-FI#1.txt | October 20, 2022 | 6.041 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:51:49 PM | 53509 | 1325.004 | 16 | 0.99779 | 103.0457 | 1423.15 | 0.11866 | Y | SupCrit, low density | 0.11258 | -0.20989 | 0.11866 | 0.11891 | -0.18159 | SupCrit | 103.0357
113 | LL4-FI12b-FI#2 | 103.2751 | 1285.3643 | 1224.8844 | 5.2444 | 1388.6394 | 1881.7959 | 6.6097 |  | 0 |  | 0 |  | 0 | LL4-FI12b-FI#2 | LL4-FI12b-FI#2.txt | October 20, 2022 | 6.051 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:01:06 PM | 54066 | 1325.004 | 17 | 0.9978 | 103.0477 | 1423.15 | 0.1194 | Y | SupCrit, low density | 0.11332 | -0.20815 | 0.1194 | 0.11967 | -0.17986 | SupCrit | 103.0377
114 | LL4-FI12b-FI#3cosmicrat | 103.276 | 1285.4281 | 1173.5721 | 3.8495 | 1388.7041 | 1783.141 | 5.6317 |  | 0 |  | 0 |  | 0 | LL4-FI12b-FI#3cosmicrat | LL4-FI12b-FI#3cosmicrat.txt | October 20, 2022 | 6.024 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:08:18 PM | 54498 | 1325.004 | 18 | 0.9978 | 103.0489 | 1423.15 | 0.11983 | Y | SupCrit, low density | 0.11374 | -0.20716 | 0.11983 | 0.1201 | -0.17886 | SupCrit | 103.0389
118 | LL8-FI37-#1 | 103.1329 | 1285.7811 | 1320.4336 | 36.162 | 1388.914 | 1731.5323 | 60.0433 |  | 0 |  | 0 |  | 0 | LL8-FI37-#1 | LL8-FI37-#1.txt | November 3, 2022 | 12.026 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:50:11 PM | 46211 | 1325.004 |  | 0.9981 | 102.9374 | 1423.15 | 0.077918 | Y | SupCrit, low density | 0.072145 | -0.30675 | 0.077918 | 0.078655 | -0.27848 | SupCrit | 102.9274
119 | LL8-FI37-#2 | 103.2434 | 1285.6026 | 1378.0602 | 28.731 | 1388.846 | 1922.7493 | 46.9705 |  | 0 |  | 0 |  | 0 | LL8-FI37-#2 | LL8-FI37-#2.txt | November 3, 2022 | 12.049 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:00:36 PM | 46836 | 1325.004 |  | 0.99809 | 103.0466 | 1423.15 | 0.11898 | Y | SupCrit, low density | 0.1129 | -0.20914 | 0.11898 | 0.11924 | -0.18084 | SupCrit | 103.0366
120 | LL8-FI37-#3 | 103.2008 | 1285.6528 | 1173.3323 | 37.4818 | 1388.8536 | 1571.6853 | 51.1299 |  | 0 |  | 0 |  | 0 | LL8-FI37-#3 | LL8-FI37-#3.txt | November 3, 2022 | 12.046 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:05:02 PM | 47102 | 1325.004 |  | 0.99809 | 103.0036 | 1423.15 | 0.10279 | Y | SupCrit, low density | 0.096836 | -0.2472 | 0.10279 | 0.10302 | -0.2189 | SupCrit | 102.9936
121 | LL8-FI236-FI#1 | 103.3012 | 1285.4427 | 2991.2208 | 10.1167 | 1388.7439 | 5165.2583 | 11.1014 | 1265.1622 | 280.802 | 1410.0741 | 512.7792 |  | 0 | LL8-FI236-FI#1 | LL8-FI236-FI#1.txt | November 3, 2022 | 12.061 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:18:19 PM | 47899 | 1325.004 |  | 0.99807 | 103.1022 | 1423.15 | 0.1399 | Y | SupCrit, low density | 0.13367 | -0.16074 | 0.1399 | 0.14063 | -0.13248 | SupCrit | 103.0922
122 | LL8-P3609-FI#2_12mW | 103.2581 | 1285.6238 | 2430.9775 | 2.6014 | 1388.8818 | 3153.0239 | 3.0274 | 1265.3939 | 208.1619 | 1410.2433 | 367.6623 |  | 0 | LL8-P3609-FI#2_12mW | LL8-P3609-FI#2_12mW.txt | November 3, 2022 | 12.062 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:01:13 PM | 50473 | 1325.004 |  | 0.99803 | 103.0544 | 1423.15 | 0.1219 | Y | SupCrit, low density | 0.1158 | -0.20233 | 0.1219 | 0.1222 | -0.17404 | SupCrit | 103.0444
123 | LL8-3b-FI#1 | 103.1862 | 1285.7018 | 1835.4545 | 7.8914 | 1388.8881 | 2632.3095 | 8.3946 |  | 0 |  | 0 |  | 0 | LL8-3b-FI#1 | LL8-3b-FI#1.txt | November 3, 2022 | 12.057 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 11:50:48 AM | 42648 | 1325.004 |  | 0.99816 | 102.9964 | 1423.15 | 0.1001 | Y | SupCrit, low density | 0.094166 | -0.25358 | 0.1001 | 0.10035 | -0.22528 | SupCrit | 102.9864
124 | LL8-3b-FI#2 | 103.2029 | 1285.6763 | 1758.8029 | 6.6979 | 1388.8793 | 2606.8862 | 8.708 |  | 0 |  | 0 |  | 0 | LL8-3b-FI#2 | LL8-3b-FI#2.txt | November 3, 2022 | 12.076 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:04:32 PM | 43472 | 1325.004 |  | 0.99815 | 103.0119 | 1423.15 | 0.10592 | Y | SupCrit, low density | 0.099942 | -0.2398 | 0.10592 | 0.10613 | -0.2115 | SupCrit | 103.0019
125 | LL8-3b-FI#3 | 103.1463 | 1285.823 | 659.0951 | 4.5821 | 1388.9693 | 975.6545 | 4.7411 |  | 0 |  | 0 |  | 0 | LL8-3b-FI#3 | LL8-3b-FI#3.txt | November 3, 2022 | 11.971 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:25:39 PM | 44739 | 1325.004 |  | 0.99813 | 102.9534 | 1423.15 | 0.083932 | Y | SupCrit, low density | 0.078115 | -0.29223 | 0.083932 | 0.08448 | -0.26395 | SupCrit | 102.9434
126 | LL8-3b-FI#4 | 103.1283 | 1285.8375 | 755.8611 | 6.3203 | 1388.9658 | 1083.0894 | 6.7068 |  | 0 |  | 0 |  | 0 | LL8-3b-FI#4 | LL8-3b-FI#4.txt | November 3, 2022 | 11.989 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:30:38 PM | 45038 | 1325.004 |  | 0.99812 | 102.9349 | 1423.15 | 0.076981 | Y | SupCrit, low density | 0.071215 | -0.30901 | 0.076981 | 0.077752 | -0.28075 | SupCrit | 102.9249
127 | LL8-3b-FI#5 | 103.1835 | 1285.7428 | 913.1099 | 5.9758 | 1388.9263 | 1311.7726 | 5.7376 |  | 0 |  | 0 |  | 0 | LL8-3b-FI#5 | LL8-3b-FI#5.txt | November 3, 2022 | 12.014 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:37:56 PM | 45476 | 1325.004 |  | 0.99812 | 102.9892 | 1423.15 | 0.097409 | Y | SupCrit, low density | 0.091492 | -0.25998 | 0.097409 | 0.097683 | -0.23168 | SupCrit | 102.9792
128 | LL8-601-FI#1 | 103.2808 | 1285.5718 | 1270.9118 | 4.9195 | 1388.8526 | 1927.7674 | 6.0072 |  | 0 |  | 0 |  | 0 | LL8-601-FI#1 | LL8-601-FI#1.txt | November 3, 2022 | 12.043 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:46:52 PM | 53212 | 1325.004 |  | 0.99798 | 103.0723 | 1423.15 | 0.12864 | Y | SupCrit, low density | 0.12249 | -0.18668 | 0.12864 | 0.12906 | -0.1584 | SupCrit | 103.0623
129 | LL8-601-FI#2_12mW | 103.1612 | 1285.8415 | 897.8258 | 3.4977 | 1389.0027 | 1353.9761 | 4.1101 |  | 0 |  | 0 |  | 0 | LL8-601-FI#2_12mW | LL8-601-FI#2_12mW.txt | November 3, 2022 | 11.994 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:53:52 PM | 53632 | 1325.004 |  | 0.99797 | 102.9523 | 1423.15 | 0.083513 | Y | SupCrit, low density | 0.077699 | -0.29324 | 0.083513 | 0.084073 | -0.26496 | SupCrit | 102.9423
130 | LL8-601-FI#2_6mW | 103.1404 | 1285.884 | 197.8348 | 2.2209 | 1389.0244 | 300.4799 | 2.0879 |  | 0 |  | 0 |  | 0 | LL8-601-FI#2_6mW | LL8-601-FI#2_6mW.txt | November 3, 2022 | 6.005 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:58:19 PM | 53899 | 1325.004 |  | 0.99797 | 102.931 | 1423.15 | 0.075522 | Y | SupCrit, low density | 0.069768 | -0.31255 | 0.075522 | 0.076347 | -0.28429 | SupCrit | 102.921
133 | LL8-P2636-FI#1 | 103.1664 | 1285.8041 | 412.6889 | 2.5504 | 1388.9705 | 638.8454 | 2.8062 |  | 0 |  | 0 |  | 0 | LL8-P2636-FI#1 | LL8-P2636-FI#1.txt | November 3, 2022 | 12.045 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:23:20 PM | 55400 | 1325.004 |  | 0.99795 | 102.9549 | 1423.15 | 0.084503 | Y | SupCrit, low density | 0.078681 | -0.29086 | 0.084503 | 0.085035 | -0.26258 | SupCrit | 102.9449
134 | LL8-P2636-FI#2 | 103.1644 | 1285.807 | 247.7517 | 4.1221 | 1388.9714 | 387.4251 | 4.0873 |  | 0 |  | 0 |  | 0 | LL8-P2636-FI#2 | LL8-P2636-FI#2.txt | November 3, 2022 | 12.028 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:30:33 PM | 55833 | 1325.004 |  | 0.99795 | 102.9524 | 1423.15 | 0.083547 | Y | SupCrit, low density | 0.077732 | -0.29316 | 0.083547 | 0.084105 | -0.26488 | SupCrit | 102.9424
135 | LL8-P2636-FI#3 | 103.1991 | 1285.7113 | 541.9733 | 3.4723 | 1388.9104 | 822.5776 | 3.1835 |  | 0 |  | 0 |  | 0 | LL8-P2636-FI#3 | LL8-P2636-FI#3.txt | November 3, 2022 | 12.02 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:36:28 PM | 56188 | 1325.004 |  | 0.99794 | 102.9867 | 1423.15 | 0.09644 | Y | SupCrit, low density | 0.09053 | -0.26229 | 0.09644 | 0.096727 | -0.23399 | SupCrit | 102.9767
136 | LL8-P2636-FI#4 | 103.1647 | 1285.8713 | 637.1439 | 3.234 | 1389.036 | 961.6894 | 3.79 |  | 0 |  | 0 |  | 0 | LL8-P2636-FI#4 | LL8-P2636-FI#4.txt | November 3, 2022 | 12.028 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:41:34 PM | 56494 | 1325.004 |  | 0.99794 | 102.952 | 1423.15 | 0.083406 | Y | SupCrit, low density | 0.077593 | -0.2935 | 0.083406 | 0.083969 | -0.26522 | SupCrit | 102.942
137 | LL8-P3609-FI#1_12mW | 103.2895 | 1285.5575 | 2098.447 | 6.418 | 1388.847 | 3184.2686 | 7.1148 |  | 0 |  | 0 |  | 0 | LL8-P3609-FI#1_12mW | LL8-P3609-FI#1_12mW.txt | November 3, 2022 | 12.032 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:40:16 PM | 49216 | 1325.004 |  | 0.99805 | 103.0881 | 1423.15 | 0.1346 | Y | SupCrit, low density | 0.12841 | -0.17292 | 0.1346 | 0.13516 | -0.14464 | SupCrit | 103.0781
138 | LL8-P3609-FI#1_6mW | 103.287 | 1285.5559 | 1118.3716 | 4.0434 | 1388.8428 | 1702.2962 | 3.7054 |  | 0 |  | 0 |  | 0 | LL8-P3609-FI#1_6mW | LL8-P3609-FI#1_6mW.txt | November 3, 2022 | 6.016 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:46:51 PM | 49611 | 1325.004 |  | 0.99804 | 103.0848 | 1423.15 | 0.13335 | Y | SupCrit, low density | 0.12717 | -0.17579 | 0.13335 | 0.13389 | -0.14751 | SupCrit | 103.0748
139 | LL8-P3609-FI#2_6mW | 103.2615 | 1285.6167 | 1273.9479 | 4.0441 | 1388.8782 | 1939.5176 | 4.3141 |  | 0 |  | 0 |  | 0 | LL8-P3609-FI#2_6mW | LL8-P3609-FI#2_6mW.txt | November 3, 2022 | 6.021 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:12:17 PM | 51137 | 1325.004 |  | 0.99802 | 103.0566 | 1423.15 | 0.12273 | Y | SupCrit, low density | 0.11663 | -0.20039 | 0.12273 | 0.12304 | -0.17209 | SupCrit | 103.0466
140 | LL8-P3609-FI#3_12mW | 103.2534 | 1285.6479 | 2102.811 | 6.8152 | 1388.9014 | 3158.0602 | 8.0266 |  | 0 |  | 0 |  | 0 | LL8-P3609-FI#3_12mW | LL8-P3609-FI#3_12mW.txt | November 3, 2022 | 11.936 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:27:29 PM | 52049 | 1325.004 |  | 0.998 | 103.0469 | 1423.15 | 0.11909 | Y | SupCrit, low density | 0.11301 | -0.20887 | 0.11909 | 0.11935 | -0.18058 | SupCrit | 103.0369
141 | LL8-P3609-FI#3_6mW | 103.2559 | 1285.6432 | 1072.1257 | 3.3985 | 1388.8992 | 1630.8058 | 5.5903 |  | 0 |  | 0 |  | 0 | LL8-P3609-FI#3_6mW | LL8-P3609-FI#3_6mW.txt | November 3, 2022 | 6.019 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:23:07 PM | 51787 | 1325.004 |  | 0.998 | 103.0499 | 1423.15 | 0.12021 | Y | SupCrit, low density | 0.11413 | -0.20626 | 0.12021 | 0.12049 | -0.17796 | SupCrit | 103.0399